## Slide 1: The Hessian approach for a posteriori confidence analysis
QUNOM workshop
K.A. Matveevskii, H.W. Lokhorst, I.A. Makhotkin

## Slide 2: X-Ray Reflectometry
X-ray source
Hybrid monochromator
Malvern Panalytical Empyrian diffractometer setup
Detector
θ
Incident beam
Sample
θi
θr
2θ
Specular reflection

## Slide 3: Analysis of XRR data solving inverse problem

## Slide 4: minimization
Classically:
Possible to add regularizers based on physical phenomena/expectations
Note
Minimum: = 0

## Slide 5: Account for measurement errors
depends on the angle
is the Poissonian error (counting statistic) (blue)
is the interpolation error (orange)
is a simulation error (yellow)
Plot of vs.

## Slide 6: Correlation and Covariance
If we have a covariance matrix then we know
Correlation matrix is then given by
(so denotes the correlation of with ).
How to find this covariance matrix?
Notes: + tell about parameter space reduction by investigation of correlation matrix

## Slide 7: Hessian Approach
If the parameters are Gaussian distributed:
(multidimensional case)
in an extremum implies in an extremum
Numerically:
(2D)
Could be done with better error order scaling, but at cost of more memory and more computations

## Slide 8: Application (hands-on)
Install the following package:
github.com/dashee13/QUNOM2023

## Slide 10: Appendix: Free-form (if interested)
d | Lamellas
I1 | 1 1.3 1.5 1.7 1.9
L1 | 2
I2 | 2.3 2.5 2.7 2.9
Subst. | 3

## Slide 11
(Free-form) (or e.g.)